## Well results
WELL RESULTS
MEASUREMENT START DATE Wed Jul 26 2023 10:12:49 GMT+0200 (Central European Summer Time)
1 OPERATION | UPCON-Scan
TEMPERATURE (Celsius) | 21.8
CALCULATION SAVE TIME: | 7/26/2023, 10:19:11 AM
There is ! mark if peak area is narrowed because of overflow and * mark if peak area is modified by user
Strip 10 | Control | Control | Control | note | Test | Test | Test | note | T/C | X-pos | Y-pos | 15 | 15.202 | 15.404 | 15.606 | 15.808 | 16.01 | 16.212 | 16.414 | 16.616 | 16.818 | 17.02 | 17.222 | 17.424 | 17.626 | 17.828 | 18.03 | 18.232 | 18.434 | 18.636 | 18.838 | 19.04 | 19.242 | 19.444 | 19.646 | 19.848 | 20.051 | 20.253 | 20.455 | 20.657 | 20.859 | 21.061 | 21.263 | 21.465 | 21.667 | 21.869 | 22.071 | 22.273 | 22.475 | 22.677 | 22.879 | 23.081 | 23.283 | 23.485 | 23.687 | 23.889 | 24.091 | 24.293 | 24.495 | 24.697 | 24.899 | 25.101 | 25.303 | 25.505 | 25.707 | 25.909 | 26.111 | 26.313 | 26.515 | 26.717 | 26.919 | 27.121 | 27.323 | 27.525 | 27.727 | 27.929 | 28.131 | 28.333 | 28.535 | 28.737 | 28.939 | 29.141 | 29.343 | 29.545 | 29.747 | 29.949 | 30.152 | 30.354 | 30.556 | 30.758 | 30.96 | 31.162 | 31.364 | 31.566 | 31.768 | 31.97 | 32.172 | 32.374 | 32.576 | 32.778 | 32.98 | 33.182 | 33.384 | 33.586 | 33.788 | 33.99 | 34.192 | 34.394 | 34.596 | 34.798 | 35
| start | end | area |  | start | end | area |  | -ratio
line1 | 27.323 | 25.505 | 15653022 |  | 22.475 | 20.657 | 971659 |  | 0.06 | 61 |  | 80673 | 86275 | 87527 | 88038 | 84898 | 83903 | 79800 | 86229 | 87103 | 79981 | 80371 | 90608 | 89434 | 85183 | 83289 | 89533 | 93574 | 86001 | 95775 | 89578 | 83484 | 88414 | 83810 | 78643 | 89146 | 102527 | 102449 | 86180 | 81326 | 90934 | 106780 | 117469 | 118349 | 108315 | 89073 | 84710 | 85391 | 89312 | 89330 | 76258 | 77005 | 82918 | 76261 | 86682 | 90626 | 83476 | 85553 | 89281 | 89596 | 99811 | 101927 | 98606 | 101371 | 313264 | 1247824 | 3049501 | 3349803 | 3234404 | 2831521 | 1217882 | 187884 | 119568 | 94794 | 83712 | 86719 | 85716 | 82090 | 81898 | 80297 | 76714 | 69273 | 73257 | 89255 | 82824 | 74586 | 82020 | 81934 | 78016 | 75736 | 76324 | 70693 | 63975 | 59432 | 61948 | 58337 | 62522 | 86633 | 99548 | 127960 | 153444 | 185655 | 215170 | 252609 | 261224 | 263133 | 283399 | 270714 | 260075 | 226552 | 203626
Strip 11 | Control | Control | Control | note | Test | Test | Test | note | T/C | X-pos | Y-pos | 15 | 15.202 | 15.404 | 15.606 | 15.808 | 16.01 | 16.212 | 16.414 | 16.616 | 16.818 | 17.02 | 17.222 | 17.424 | 17.626 | 17.828 | 18.03 | 18.232 | 18.434 | 18.636 | 18.838 | 19.04 | 19.242 | 19.444 | 19.646 | 19.848 | 20.051 | 20.253 | 20.455 | 20.657 | 20.859 | 21.061 | 21.263 | 21.465 | 21.667 | 21.869 | 22.071 | 22.273 | 22.475 | 22.677 | 22.879 | 23.081 | 23.283 | 23.485 | 23.687 | 23.889 | 24.091 | 24.293 | 24.495 | 24.697 | 24.899 | 25.101 | 25.303 | 25.505 | 25.707 | 25.909 | 26.111 | 26.313 | 26.515 | 26.717 | 26.919 | 27.121 | 27.323 | 27.525 | 27.727 | 27.929 | 28.131 | 28.333 | 28.535 | 28.737 | 28.939 | 29.141 | 29.343 | 29.545 | 29.747 | 29.949 | 30.152 | 30.354 | 30.556 | 30.758 | 30.96 | 31.162 | 31.364 | 31.566 | 31.768 | 31.97 | 32.172 | 32.374 | 32.576 | 32.778 | 32.98 | 33.182 | 33.384 | 33.586 | 33.788 | 33.99 | 34.192 | 34.394 | 34.596 | 34.798 | 35
| start | end | area |  | start | end | area |  | -ratio
line1 | 27.525 | 25.909 | 12065819 |  | 22.273 | 20.455 | 15672825 |  | 1.3 | 66.5 |  | 104425 | 99312 | 110688 | 110658 | 101625 | 107557 | 101611 | 106441 | 100316 | 92696 | 108308 | 103447 | 97621 | 98409 | 101269 | 112632 | 136078 | 111032 | 101252 | 102915 | 101977 | 104051 | 128679 | 114144 | 106377 | 125305 | 120493 | 167885 | 619962 | 1330191 | 2533008 | 3316507 | 3197822 | 2614607 | 1605428 | 165313 | 122102 | 108729 | 75735 | 77020 | 78095 | 78019 | 72507 | 69284 | 59582 | 61293 | 70838 | 58680 | 64774 | 67078 | 64374 | 75547 | 198125 | 414791 | 453478 | 1400807 | 2711883 | 2880170 | 2627961 | 1622602 | 241381 | 69027 | 58510 | 62762 | 61616 | 49467 | 51732 | 56775 | 67255 | 61458 | 54271 | 54827 | 55181 | 54479 | 46046 | 54388 | 53436 | 46173 | 40805 | 42212 | 46711 | 46731 | 45570 | 45332 | 44576 | 42529 | 50477 | 83270 | 100113 | 116447 | 128261 | 144381 | 165026 | 204735 | 230452 | 217194 | 210375 | 211618 | 217576 | 210506
Strip 12 | Control | Control | Control | note | Test | Test | Test | note | T/C | X-pos | Y-pos | 15 | 15.202 | 15.404 | 15.606 | 15.808 | 16.01 | 16.212 | 16.414 | 16.616 | 16.818 | 17.02 | 17.222 | 17.424 | 17.626 | 17.828 | 18.03 | 18.232 | 18.434 | 18.636 | 18.838 | 19.04 | 19.242 | 19.444 | 19.646 | 19.848 | 20.051 | 20.253 | 20.455 | 20.657 | 20.859 | 21.061 | 21.263 | 21.465 | 21.667 | 21.869 | 22.071 | 22.273 | 22.475 | 22.677 | 22.879 | 23.081 | 23.283 | 23.485 | 23.687 | 23.889 | 24.091 | 24.293 | 24.495 | 24.697 | 24.899 | 25.101 | 25.303 | 25.505 | 25.707 | 25.909 | 26.111 | 26.313 | 26.515 | 26.717 | 26.919 | 27.121 | 27.323 | 27.525 | 27.727 | 27.929 | 28.131 | 28.333 | 28.535 | 28.737 | 28.939 | 29.141 | 29.343 | 29.545 | 29.747 | 29.949 | 30.152 | 30.354 | 30.556 | 30.758 | 30.96 | 31.162 | 31.364 | 31.566 | 31.768 | 31.97 | 32.172 | 32.374 | 32.576 | 32.778 | 32.98 | 33.182 | 33.384 | 33.586 | 33.788 | 33.99 | 34.192 | 34.394 | 34.596 | 34.798 | 35
| start | end | area |  | start | end | area |  | -ratio
line1 | 27.323 | 25.505 | 13431101 |  | 22.475 | 20.253 | 13428413 |  | 1 | 72 |  | 74190 | 80943 | 86948 | 89659 | 76585 | 70411 | 77029 | 68835 | 71739 | 75917 | 74648 | 66029 | 68180 | 79610 | 78971 | 86423 | 79527 | 72421 | 70102 | 74062 | 72164 | 75688 | 76916 | 72208 | 83786 | 98183 | 126531 | 235196 | 1145866 | 1985160 | 2789396 | 2799236 | 2248540 | 1491111 | 373905 | 88562 | 76776 | 68134 | 61600 | 62548 | 51501 | 47243 | 53453 | 51958 | 55685 | 51523 | 53683 | 54896 | 65050 | 74639 | 67144 | 67052 | 65751 | 256447 | 2147043 | 3014175 | 2998695 | 2674746 | 1661374 | 398946 | 149575 | 64349 | 47780 | 57250 | 51119 | 55137 | 47738 | 57596 | 51940 | 49534 | 59756 | 59410 | 50242 | 45903 | 49066 | 55260 | 47732 | 52987 | 48458 | 46282 | 43313 | 48611 | 44696 | 37753 | 59201 | 59358 | 59575 | 73252 | 89787 | 101434 | 107915 | 131404 | 152042 | 166471 | 165824 | 175944 | 171282 | 172095 | 181600 | 181962
Strip 13 | Control | Control | Control | note | Test | Test | Test | note | T/C | X-pos | Y-pos | 15 | 15.202 | 15.404 | 15.606 | 15.808 | 16.01 | 16.212 | 16.414 | 16.616 | 16.818 | 17.02 | 17.222 | 17.424 | 17.626 | 17.828 | 18.03 | 18.232 | 18.434 | 18.636 | 18.838 | 19.04 | 19.242 | 19.444 | 19.646 | 19.848 | 20.051 | 20.253 | 20.455 | 20.657 | 20.859 | 21.061 | 21.263 | 21.465 | 21.667 | 21.869 | 22.071 | 22.273 | 22.475 | 22.677 | 22.879 | 23.081 | 23.283 | 23.485 | 23.687 | 23.889 | 24.091 | 24.293 | 24.495 | 24.697 | 24.899 | 25.101 | 25.303 | 25.505 | 25.707 | 25.909 | 26.111 | 26.313 | 26.515 | 26.717 | 26.919 | 27.121 | 27.323 | 27.525 | 27.727 | 27.929 | 28.131 | 28.333 | 28.535 | 28.737 | 28.939 | 29.141 | 29.343 | 29.545 | 29.747 | 29.949 | 30.152 | 30.354 | 30.556 | 30.758 | 30.96 | 31.162 | 31.364 | 31.566 | 31.768 | 31.97 | 32.172 | 32.374 | 32.576 | 32.778 | 32.98 | 33.182 | 33.384 | 33.586 | 33.788 | 33.99 | 34.192 | 34.394 | 34.596 | 34.798 | 35
| start | end | area |  | start | end | area |  | -ratio
line1 | 27.525 | 25.303 | 19321924 |  | 22.273 | 20.051 | 13278341 |  | 0.69 | 77.5 |  | 178838 | 180586 | 193676 | 187404 | 178059 | 174478 | 171208 | 179193 | 182860 | 167196 | 158452 | 157332 | 161032 | 161075 | 154821 | 131994 | 129757 | 129540 | 120336 | 111866 | 115356 | 117998 | 114171 | 122640 | 113551 | 119774 | 121321 | 137789 | 181771 | 645873 | 1840836 | 2885780 | 2985930 | 2562825 | 1385008 | 248119 | 163315 | 141027 | 126880 | 137226 | 140279 | 130494 | 134361 | 128955 | 113810 | 107979 | 120315 | 118443 | 120475 | 133847 | 127322 | 138827 | 288688 | 921203 | 1515684 | 2894107 | 3404450 | 3372465 | 3404857 | 2467764 | 454182 | 228786 | 230911 | 207750 | 199495 | 210880 | 222152 | 228336 | 227594 | 229292 | 239516 | 243823 | 244369 | 229202 | 252994 | 247153 | 240810 | 254308 | 247548 | 240499 | 241273 | 242124 | 248741 | 224042 | 204261 | 207772 | 164841 | 174163 | 215760 | 221217 | 256686 | 354150 | 447013 | 490771 | 513036 | 506024 | 461840 | 465126 | 465619 | 443772
Strip 14 | Control | Control | Control | note | Test | Test | Test | note | T/C | X-pos | Y-pos | 15 | 15.202 | 15.404 | 15.606 | 15.808 | 16.01 | 16.212 | 16.414 | 16.616 | 16.818 | 17.02 | 17.222 | 17.424 | 17.626 | 17.828 | 18.03 | 18.232 | 18.434 | 18.636 | 18.838 | 19.04 | 19.242 | 19.444 | 19.646 | 19.848 | 20.051 | 20.253 | 20.455 | 20.657 | 20.859 | 21.061 | 21.263 | 21.465 | 21.667 | 21.869 | 22.071 | 22.273 | 22.475 | 22.677 | 22.879 | 23.081 | 23.283 | 23.485 | 23.687 | 23.889 | 24.091 | 24.293 | 24.495 | 24.697 | 24.899 | 25.101 | 25.303 | 25.505 | 25.707 | 25.909 | 26.111 | 26.313 | 26.515 | 26.717 | 26.919 | 27.121 | 27.323 | 27.525 | 27.727 | 27.929 | 28.131 | 28.333 | 28.535 | 28.737 | 28.939 | 29.141 | 29.343 | 29.545 | 29.747 | 29.949 | 30.152 | 30.354 | 30.556 | 30.758 | 30.96 | 31.162 | 31.364 | 31.566 | 31.768 | 31.97 | 32.172 | 32.374 | 32.576 | 32.778 | 32.98 | 33.182 | 33.384 | 33.586 | 33.788 | 33.99 | 34.192 | 34.394 | 34.596 | 34.798 | 35
| start | end | area |  | start | end | area |  | -ratio
line1 | 27.727 | 26.111 | 13810910 |  | 22.677 | 21.061 | 3975112 |  | 0.29 | 83 |  | 84338 | 84703 | 96978 | 85846 | 93350 | 89375 | 90419 | 93356 | 87013 | 83292 | 79131 | 73503 | 89457 | 78919 | 74144 | 72654 | 76209 | 81183 | 76776 | 80555 | 71945 | 73147 | 78818 | 83533 | 71225 | 70779 | 79981 | 90002 | 68906 | 72877 | 99756 | 217462 | 531498 | 958888 | 1055756 | 680976 | 260664 | 95324 | 74788 | 66982 | 56965 | 59879 | 61504 | 57163 | 57973 | 69209 | 68223 | 62147 | 66704 | 71523 | 68021 | 70486 | 74203 | 75971 | 75354 | 141855 | 469379 | 2207891 | 3249573 | 3281735 | 3036361 | 1154223 | 196237 | 73656 | 69239 | 78317 | 85694 | 85039 | 84205 | 83497 | 89262 | 83521 | 74485 | 87436 | 84336 | 87529 | 80971 | 75528 | 73291 | 72993 | 73569 | 66004 | 68479 | 70004 | 52052 | 40799 | 37004 | 39488 | 51082 | 63403 | 75751 | 85511 | 106398 | 145465 | 167656 | 193222 | 217477 | 217007 | 220997 | 233420
Strip 15 | Control | Control | Control | note | Test | Test | Test | note | T/C | X-pos | Y-pos | 15 | 15.202 | 15.404 | 15.606 | 15.808 | 16.01 | 16.212 | 16.414 | 16.616 | 16.818 | 17.02 | 17.222 | 17.424 | 17.626 | 17.828 | 18.03 | 18.232 | 18.434 | 18.636 | 18.838 | 19.04 | 19.242 | 19.444 | 19.646 | 19.848 | 20.051 | 20.253 | 20.455 | 20.657 | 20.859 | 21.061 | 21.263 | 21.465 | 21.667 | 21.869 | 22.071 | 22.273 | 22.475 | 22.677 | 22.879 | 23.081 | 23.283 | 23.485 | 23.687 | 23.889 | 24.091 | 24.293 | 24.495 | 24.697 | 24.899 | 25.101 | 25.303 | 25.505 | 25.707 | 25.909 | 26.111 | 26.313 | 26.515 | 26.717 | 26.919 | 27.121 | 27.323 | 27.525 | 27.727 | 27.929 | 28.131 | 28.333 | 28.535 | 28.737 | 28.939 | 29.141 | 29.343 | 29.545 | 29.747 | 29.949 | 30.152 | 30.354 | 30.556 | 30.758 | 30.96 | 31.162 | 31.364 | 31.566 | 31.768 | 31.97 | 32.172 | 32.374 | 32.576 | 32.778 | 32.98 | 33.182 | 33.384 | 33.586 | 33.788 | 33.99 | 34.192 | 34.394 | 34.596 | 34.798 | 35
| start | end | area |  | start | end | area |  | -ratio
line1 | 27.121 | 25.303 | 14739145 |  | 22.071 | 20.253 | 1864162 |  | 0.13 | 88.5 |  | 115816 | 112278 | 109143 | 105031 | 96899 | 106487 | 104569 | 97140 | 107498 | 113789 | 113010 | 104153 | 102200 | 115717 | 105658 | 98649 | 89683 | 90880 | 100657 | 101149 | 94141 | 98812 | 91314 | 92950 | 88370 | 92670 | 88737 | 109334 | 202143 | 329634 | 332229 | 301030 | 231436 | 119973 | 75950 | 73696 | 76581 | 73985 | 71532 | 77980 | 81976 | 73322 | 72142 | 79408 | 80008 | 85385 | 91681 | 94614 | 87967 | 86108 | 92811 | 119585 | 321557 | 985847 | 2993400 | 3260886 | 3166180 | 2738965 | 917181 | 120866 | 114678 | 100613 | 99977 | 107564 | 106830 | 108544 | 104370 | 98260 | 100130 | 105967 | 98078 | 94204 | 100054 | 97339 | 93164 | 85574 | 84949 | 85853 | 82011 | 80184 | 66960 | 75044 | 77174 | 62754 | 68530 | 117567 | 154427 | 154907 | 152903 | 167237 | 193713 | 212385 | 204668 | 195323 | 182830 | 181119 | 186650 | 193844 | 182911 | 177304
Strip 16 | Control | Control | Control | note | Test | Test | Test | note | T/C | X-pos | Y-pos | 15 | 15.202 | 15.404 | 15.606 | 15.808 | 16.01 | 16.212 | 16.414 | 16.616 | 16.818 | 17.02 | 17.222 | 17.424 | 17.626 | 17.828 | 18.03 | 18.232 | 18.434 | 18.636 | 18.838 | 19.04 | 19.242 | 19.444 | 19.646 | 19.848 | 20.051 | 20.253 | 20.455 | 20.657 | 20.859 | 21.061 | 21.263 | 21.465 | 21.667 | 21.869 | 22.071 | 22.273 | 22.475 | 22.677 | 22.879 | 23.081 | 23.283 | 23.485 | 23.687 | 23.889 | 24.091 | 24.293 | 24.495 | 24.697 | 24.899 | 25.101 | 25.303 | 25.505 | 25.707 | 25.909 | 26.111 | 26.313 | 26.515 | 26.717 | 26.919 | 27.121 | 27.323 | 27.525 | 27.727 | 27.929 | 28.131 | 28.333 | 28.535 | 28.737 | 28.939 | 29.141 | 29.343 | 29.545 | 29.747 | 29.949 | 30.152 | 30.354 | 30.556 | 30.758 | 30.96 | 31.162 | 31.364 | 31.566 | 31.768 | 31.97 | 32.172 | 32.374 | 32.576 | 32.778 | 32.98 | 33.182 | 33.384 | 33.586 | 33.788 | 33.99 | 34.192 | 34.394 | 34.596 | 34.798 | 35
| start | end | area |  | start | end | area |  | -ratio
line1 | 27.323 | 25.707 | 15528144 |  | 22.677 | 21.061 | 1005033 |  | 0.06 | 94 |  | 120872 | 111638 | 114490 | 115137 | 118417 | 117083 | 113234 | 110850 | 101906 | 107122 | 105609 | 102527 | 103330 | 102752 | 106701 | 96701 | 98540 | 88061 | 98678 | 105880 | 98927 | 93831 | 86339 | 81178 | 91587 | 89868 | 86735 | 85518 | 81461 | 83924 | 89408 | 140992 | 176006 | 176541 | 117745 | 79382 | 76418 | 74406 | 74135 | 74762 | 73212 | 65675 | 69970 | 69471 | 68101 | 72937 | 77909 | 80411 | 86283 | 88868 | 83514 | 82377 | 114961 | 147926 | 569524 | 2356112 | 3268729 | 3247571 | 3076470 | 2492862 | 257330 | 111620 | 104197 | 107771 | 102564 | 98817 | 102137 | 111443 | 106008 | 109400 | 107963 | 113107 | 109872 | 107132 | 120769 | 109658 | 103155 | 102307 | 89534 | 79842 | 78935 | 76077 | 60063 | 45532 | 50038 | 54137 | 60994 | 70329 | 89177 | 102311 | 112925 | 126587 | 143033 | 171874 | 193444 | 205843 | 213560 | 210366 | 208977 | 211323
Strip 17 | Control | Control | Control | note | Test | Test | Test | note | T/C | X-pos | Y-pos | 15 | 15.202 | 15.404 | 15.606 | 15.808 | 16.01 | 16.212 | 16.414 | 16.616 | 16.818 | 17.02 | 17.222 | 17.424 | 17.626 | 17.828 | 18.03 | 18.232 | 18.434 | 18.636 | 18.838 | 19.04 | 19.242 | 19.444 | 19.646 | 19.848 | 20.051 | 20.253 | 20.455 | 20.657 | 20.859 | 21.061 | 21.263 | 21.465 | 21.667 | 21.869 | 22.071 | 22.273 | 22.475 | 22.677 | 22.879 | 23.081 | 23.283 | 23.485 | 23.687 | 23.889 | 24.091 | 24.293 | 24.495 | 24.697 | 24.899 | 25.101 | 25.303 | 25.505 | 25.707 | 25.909 | 26.111 | 26.313 | 26.515 | 26.717 | 26.919 | 27.121 | 27.323 | 27.525 | 27.727 | 27.929 | 28.131 | 28.333 | 28.535 | 28.737 | 28.939 | 29.141 | 29.343 | 29.545 | 29.747 | 29.949 | 30.152 | 30.354 | 30.556 | 30.758 | 30.96 | 31.162 | 31.364 | 31.566 | 31.768 | 31.97 | 32.172 | 32.374 | 32.576 | 32.778 | 32.98 | 33.182 | 33.384 | 33.586 | 33.788 | 33.99 | 34.192 | 34.394 | 34.596 | 34.798 | 35
| start | end | area |  | start | end | area |  | -ratio
line1 | 27.121 | 25.707 | 14354999 |  | 22.071 | 20.657 | 800594 |  | 0.06 | 99.5 |  | 103111 | 100552 | 98284 | 93165 | 102630 | 109878 | 96941 | 98612 | 100217 | 103569 | 99232 | 94434 | 113949 | 105910 | 94185 | 88491 | 87053 | 87394 | 84232 | 89265 | 92315 | 96859 | 78822 | 78793 | 83707 | 78215 | 78787 | 79033 | 94244 | 114470 | 135496 | 126575 | 112131 | 86051 | 65973 | 65654 | 61870 | 74070 | 75358 | 72355 | 71367 | 67671 | 64057 | 62525 | 64594 | 67529 | 71944 | 69633 | 70125 | 73999 | 86943 | 129640 | 408273 | 596410 | 2583240 | 3276240 | 3248210 | 2883965 | 1454078 | 222747 | 90109 | 84402 | 90417 | 95011 | 86853 | 85594 | 71006 | 83522 | 80775 | 92696 | 88875 | 83229 | 79779 | 78644 | 84351 | 80802 | 83177 | 69659 | 75780 | 71052 | 71203 | 81142 | 57149 | 61004 | 64968 | 116411 | 177656 | 189858 | 183664 | 185092 | 204452 | 211118 | 215152 | 194959 | 205766 | 203939 | 194973 | 205759 | 209974 | 202353
Strip 18 | Control | Control | Control | note | Test | Test | Test | note | T/C | X-pos | Y-pos | 15 | 15.202 | 15.404 | 15.606 | 15.808 | 16.01 | 16.212 | 16.414 | 16.616 | 16.818 | 17.02 | 17.222 | 17.424 | 17.626 | 17.828 | 18.03 | 18.232 | 18.434 | 18.636 | 18.838 | 19.04 | 19.242 | 19.444 | 19.646 | 19.848 | 20.051 | 20.253 | 20.455 | 20.657 | 20.859 | 21.061 | 21.263 | 21.465 | 21.667 | 21.869 | 22.071 | 22.273 | 22.475 | 22.677 | 22.879 | 23.081 | 23.283 | 23.485 | 23.687 | 23.889 | 24.091 | 24.293 | 24.495 | 24.697 | 24.899 | 25.101 | 25.303 | 25.505 | 25.707 | 25.909 | 26.111 | 26.313 | 26.515 | 26.717 | 26.919 | 27.121 | 27.323 | 27.525 | 27.727 | 27.929 | 28.131 | 28.333 | 28.535 | 28.737 | 28.939 | 29.141 | 29.343 | 29.545 | 29.747 | 29.949 | 30.152 | 30.354 | 30.556 | 30.758 | 30.96 | 31.162 | 31.364 | 31.566 | 31.768 | 31.97 | 32.172 | 32.374 | 32.576 | 32.778 | 32.98 | 33.182 | 33.384 | 33.586 | 33.788 | 33.99 | 34.192 | 34.394 | 34.596 | 34.798 | 35
| start | end | area |  | start | end | area |  | -ratio
line1 | 27.323 | 25.707 | 14691535 |  | 22.475 | 20.859 | 845435 |  | 0.06 | 105 |  | 100563 | 98078 | 94677 | 96475 | 94926 | 88452 | 98113 | 87069 | 101054 | 104635 | 103821 | 90134 | 88920 | 88233 | 90854 | 97964 | 100734 | 83745 | 85135 | 97398 | 98086 | 92448 | 89680 | 88091 | 88768 | 87527 | 89094 | 86465 | 85735 | 87968 | 101279 | 109625 | 116577 | 99794 | 78194 | 83667 | 87314 | 81017 | 76265 | 84850 | 77349 | 70304 | 71071 | 76532 | 69178 | 71064 | 65777 | 65253 | 70456 | 72692 | 94181 | 247694 | 371901 | 233925 | 1658572 | 3141334 | 3246498 | 3064435 | 2453208 | 724750 | 101592 | 67221 | 80235 | 74302 | 67393 | 73546 | 70999 | 67117 | 63468 | 66145 | 67574 | 62780 | 69692 | 68242 | 67267 | 61783 | 59912 | 53128 | 58544 | 53199 | 48731 | 46973 | 55455 | 53487 | 99214 | 114843 | 108936 | 107053 | 109877 | 107679 | 116407 | 123936 | 141140 | 137588 | 159472 | 158984 | 163092 | 145252 | 139413 | 131918
Strip 19 | Control | Control | Control | note | Test | Test | Test | note | T/C | X-pos | Y-pos | 15 | 15.202 | 15.404 | 15.606 | 15.808 | 16.01 | 16.212 | 16.414 | 16.616 | 16.818 | 17.02 | 17.222 | 17.424 | 17.626 | 17.828 | 18.03 | 18.232 | 18.434 | 18.636 | 18.838 | 19.04 | 19.242 | 19.444 | 19.646 | 19.848 | 20.051 | 20.253 | 20.455 | 20.657 | 20.859 | 21.061 | 21.263 | 21.465 | 21.667 | 21.869 | 22.071 | 22.273 | 22.475 | 22.677 | 22.879 | 23.081 | 23.283 | 23.485 | 23.687 | 23.889 | 24.091 | 24.293 | 24.495 | 24.697 | 24.899 | 25.101 | 25.303 | 25.505 | 25.707 | 25.909 | 26.111 | 26.313 | 26.515 | 26.717 | 26.919 | 27.121 | 27.323 | 27.525 | 27.727 | 27.929 | 28.131 | 28.333 | 28.535 | 28.737 | 28.939 | 29.141 | 29.343 | 29.545 | 29.747 | 29.949 | 30.152 | 30.354 | 30.556 | 30.758 | 30.96 | 31.162 | 31.364 | 31.566 | 31.768 | 31.97 | 32.172 | 32.374 | 32.576 | 32.778 | 32.98 | 33.182 | 33.384 | 33.586 | 33.788 | 33.99 | 34.192 | 34.394 | 34.596 | 34.798 | 35
| start | end | area |  | start | end | area |  | -ratio
line1 | 27.525 | 25.505 | 15621787 |  | 22.273 | 20.253 | 1087538 |  | 0.07 | 110.5 |  | 107842 | 106741 | 108879 | 105099 | 100376 | 110530 | 100033 | 101690 | 96224 | 88067 | 103214 | 94376 | 107798 | 99777 | 96556 | 104412 | 103863 | 94632 | 94673 | 109225 | 95732 | 121830 | 112337 | 102324 | 102701 | 93734 | 92820 | 93996 | 97310 | 98232 | 103659 | 112627 | 112017 | 108629 | 92495 | 84008 | 91745 | 91248 | 89859 | 83280 | 95064 | 87554 | 82846 | 81279 | 83017 | 86448 | 87487 | 83695 | 81186 | 78006 | 90154 | 102896 | 94932 | 255874 | 626983 | 1717005 | 3144269 | 3303931 | 3137675 | 2718525 | 392466 | 125529 | 104598 | 101260 | 97111 | 89269 | 103348 | 100335 | 96346 | 91822 | 90655 | 100213 | 111220 | 103628 | 102826 | 98804 | 92769 | 88223 | 92136 | 90612 | 83238 | 83310 | 73285 | 67764 | 63493 | 74429 | 83661 | 106608 | 132344 | 136523 | 144887 | 163210 | 181915 | 213619 | 220453 | 261080 | 290174 | 297842 | 281648 | 238616
Strip 20 | Control | Control | Control | note | Test | Test | Test | note | T/C | X-pos | Y-pos | 15 | 15.202 | 15.404 | 15.606 | 15.808 | 16.01 | 16.212 | 16.414 | 16.616 | 16.818 | 17.02 | 17.222 | 17.424 | 17.626 | 17.828 | 18.03 | 18.232 | 18.434 | 18.636 | 18.838 | 19.04 | 19.242 | 19.444 | 19.646 | 19.848 | 20.051 | 20.253 | 20.455 | 20.657 | 20.859 | 21.061 | 21.263 | 21.465 | 21.667 | 21.869 | 22.071 | 22.273 | 22.475 | 22.677 | 22.879 | 23.081 | 23.283 | 23.485 | 23.687 | 23.889 | 24.091 | 24.293 | 24.495 | 24.697 | 24.899 | 25.101 | 25.303 | 25.505 | 25.707 | 25.909 | 26.111 | 26.313 | 26.515 | 26.717 | 26.919 | 27.121 | 27.323 | 27.525 | 27.727 | 27.929 | 28.131 | 28.333 | 28.535 | 28.737 | 28.939 | 29.141 | 29.343 | 29.545 | 29.747 | 29.949 | 30.152 | 30.354 | 30.556 | 30.758 | 30.96 | 31.162 | 31.364 | 31.566 | 31.768 | 31.97 | 32.172 | 32.374 | 32.576 | 32.778 | 32.98 | 33.182 | 33.384 | 33.586 | 33.788 | 33.99 | 34.192 | 34.394 | 34.596 | 34.798 | 35
| start | end | area |  | start | end | area |  | -ratio
line1 | 27.323 | 25.505 | 15143352 |  | 22.273 | 20.455 | 846513 |  | 0.06 | 116 |  | 99827 | 101587 | 93720 | 92097 | 90805 | 92920 | 91853 | 88772 | 100869 | 99753 | 101035 | 91829 | 86983 | 94753 | 90375 | 97492 | 86842 | 80704 | 88016 | 86277 | 81085 | 88902 | 92607 | 93564 | 89742 | 83726 | 85648 | 91832 | 77508 | 77177 | 95797 | 98277 | 90232 | 98035 | 73477 | 73018 | 71160 | 66657 | 64083 | 68805 | 72711 | 76604 | 69303 | 79912 | 76083 | 71739 | 69819 | 79025 | 92968 | 78684 | 74130 | 78846 | 113854 | 567578 | 1568708 | 3117399 | 3358240 | 3215018 | 2487785 | 543624 | 87292 | 83854 | 92877 | 87466 | 104788 | 93744 | 89559 | 95360 | 93736 | 94218 | 97025 | 89330 | 96502 | 102193 | 108937 | 110093 | 101456 | 99973 | 99575 | 96920 | 100060 | 86237 | 92345 | 88568 | 83604 | 76085 | 83381 | 165865 | 212473 | 224679 | 246717 | 232871 | 222179 | 231048 | 230370 | 208892 | 200711 | 196306 | 179405 | 177048
Strip 1 | Control | Control | Control | note | Test | Test | Test | note | T/C | X-pos | Y-pos | 15 | 15.202 | 15.404 | 15.606 | 15.808 | 16.01 | 16.212 | 16.414 | 16.616 | 16.818 | 17.02 | 17.222 | 17.424 | 17.626 | 17.828 | 18.03 | 18.232 | 18.434 | 18.636 | 18.838 | 19.04 | 19.242 | 19.444 | 19.646 | 19.848 | 20.051 | 20.253 | 20.455 | 20.657 | 20.859 | 21.061 | 21.263 | 21.465 | 21.667 | 21.869 | 22.071 | 22.273 | 22.475 | 22.677 | 22.879 | 23.081 | 23.283 | 23.485 | 23.687 | 23.889 | 24.091 | 24.293 | 24.495 | 24.697 | 24.899 | 25.101 | 25.303 | 25.505 | 25.707 | 25.909 | 26.111 | 26.313 | 26.515 | 26.717 | 26.919 | 27.121 | 27.323 | 27.525 | 27.727 | 27.929 | 28.131 | 28.333 | 28.535 | 28.737 | 28.939 | 29.141 | 29.343 | 29.545 | 29.747 | 29.949 | 30.152 | 30.354 | 30.556 | 30.758 | 30.96 | 31.162 | 31.364 | 31.566 | 31.768 | 31.97 | 32.172 | 32.374 | 32.576 | 32.778 | 32.98 | 33.182 | 33.384 | 33.586 | 33.788 | 33.99 | 34.192 | 34.394 | 34.596 | 34.798 | 35
| start | end | area |  | start | end | area |  | -ratio
line1 | 27.929 | 25.909 | 19289839 |  | 22.677 | 20.657 | 1272399 |  | 0.07 | 11.5 |  | 223541 | 220970 | 223274 | 239657 | 230291 | 241059 | 233503 | 233786 | 246991 | 226871 | 234526 | 197804 | 190951 | 193226 | 179640 | 176880 | 155727 | 155809 | 149950 | 145631 | 143123 | 135016 | 125063 | 129092 | 128110 | 113248 | 101244 | 101182 | 98384 | 103022 | 110516 | 118487 | 102542 | 111195 | 151244 | 150520 | 111318 | 112518 | 102653 | 112677 | 114668 | 120072 | 115108 | 118267 | 123787 | 118210 | 118707 | 119528 | 126526 | 138729 | 148437 | 145905 | 158167 | 161121 | 170864 | 593925 | 1393718 | 3042506 | 3222706 | 3222406 | 3454326 | 3101731 | 621834 | 239302 | 226521 | 240316 | 221884 | 242471 | 247727 | 258759 | 291624 | 273389 | 258705 | 237286 | 256613 | 272415 | 263016 | 257557 | 274868 | 241281 | 239420 | 247284 | 204809 | 190014 | 137031 | 145585 | 160795 | 161189 | 158153 | 174577 | 208718 | 268675 | 288845 | 312105 | 380110 | 402541 | 404459 | 401819 | 424420 | 413662
Strip 2 | Control | Control | Control | note | Test | Test | Test | note | T/C | X-pos | Y-pos | 15 | 15.202 | 15.404 | 15.606 | 15.808 | 16.01 | 16.212 | 16.414 | 16.616 | 16.818 | 17.02 | 17.222 | 17.424 | 17.626 | 17.828 | 18.03 | 18.232 | 18.434 | 18.636 | 18.838 | 19.04 | 19.242 | 19.444 | 19.646 | 19.848 | 20.051 | 20.253 | 20.455 | 20.657 | 20.859 | 21.061 | 21.263 | 21.465 | 21.667 | 21.869 | 22.071 | 22.273 | 22.475 | 22.677 | 22.879 | 23.081 | 23.283 | 23.485 | 23.687 | 23.889 | 24.091 | 24.293 | 24.495 | 24.697 | 24.899 | 25.101 | 25.303 | 25.505 | 25.707 | 25.909 | 26.111 | 26.313 | 26.515 | 26.717 | 26.919 | 27.121 | 27.323 | 27.525 | 27.727 | 27.929 | 28.131 | 28.333 | 28.535 | 28.737 | 28.939 | 29.141 | 29.343 | 29.545 | 29.747 | 29.949 | 30.152 | 30.354 | 30.556 | 30.758 | 30.96 | 31.162 | 31.364 | 31.566 | 31.768 | 31.97 | 32.172 | 32.374 | 32.576 | 32.778 | 32.98 | 33.182 | 33.384 | 33.586 | 33.788 | 33.99 | 34.192 | 34.394 | 34.596 | 34.798 | 35
| start | end | area |  | start | end | area |  | -ratio
line1 | 27.727 | 25.909 | 15675050 |  | 22.677 | 20.859 | 847214 |  | 0.05 | 17 |  | 134695 | 118442 | 144832 | 122488 | 109599 | 110288 | 107450 | 100176 | 97406 | 113794 | 95289 | 102144 | 100941 | 98091 | 98260 | 114842 | 92529 | 96687 | 99078 | 94671 | 87781 | 92590 | 90712 | 92595 | 89593 | 89258 | 86627 | 87050 | 85914 | 90077 | 79910 | 81313 | 89987 | 104906 | 91313 | 93204 | 76290 | 70803 | 69411 | 71138 | 71150 | 79105 | 79170 | 81083 | 74549 | 74697 | 76975 | 70092 | 71450 | 76719 | 73509 | 73536 | 82843 | 90939 | 98351 | 344620 | 1337905 | 3116877 | 3368495 | 3242158 | 2801156 | 1186442 | 102762 | 76284 | 75339 | 74012 | 64843 | 62471 | 66959 | 66024 | 64756 | 63367 | 69716 | 60967 | 52016 | 54162 | 53859 | 50486 | 56994 | 54031 | 50536 | 48681 | 47177 | 46273 | 42372 | 47150 | 54039 | 73241 | 85796 | 88695 | 103718 | 115682 | 127809 | 139376 | 173135 | 189006 | 184160 | 189490 | 203847 | 197149
Strip 3 | Control | Control | Control | note | Test | Test | Test | note | T/C | X-pos | Y-pos | 15 | 15.202 | 15.404 | 15.606 | 15.808 | 16.01 | 16.212 | 16.414 | 16.616 | 16.818 | 17.02 | 17.222 | 17.424 | 17.626 | 17.828 | 18.03 | 18.232 | 18.434 | 18.636 | 18.838 | 19.04 | 19.242 | 19.444 | 19.646 | 19.848 | 20.051 | 20.253 | 20.455 | 20.657 | 20.859 | 21.061 | 21.263 | 21.465 | 21.667 | 21.869 | 22.071 | 22.273 | 22.475 | 22.677 | 22.879 | 23.081 | 23.283 | 23.485 | 23.687 | 23.889 | 24.091 | 24.293 | 24.495 | 24.697 | 24.899 | 25.101 | 25.303 | 25.505 | 25.707 | 25.909 | 26.111 | 26.313 | 26.515 | 26.717 | 26.919 | 27.121 | 27.323 | 27.525 | 27.727 | 27.929 | 28.131 | 28.333 | 28.535 | 28.737 | 28.939 | 29.141 | 29.343 | 29.545 | 29.747 | 29.949 | 30.152 | 30.354 | 30.556 | 30.758 | 30.96 | 31.162 | 31.364 | 31.566 | 31.768 | 31.97 | 32.172 | 32.374 | 32.576 | 32.778 | 32.98 | 33.182 | 33.384 | 33.586 | 33.788 | 33.99 | 34.192 | 34.394 | 34.596 | 34.798 | 35
| start | end | area |  | start | end | area |  | -ratio
line1 | 27.525 | 25.909 | 15351991 |  | 22.273 | 20.657 | 736517 |  | 0.05 | 22.5 |  | 99222 | 105831 | 93361 | 85814 | 84031 | 85570 | 97125 | 91392 | 87710 | 93916 | 82843 | 81107 | 89765 | 87092 | 92405 | 94659 | 87303 | 85625 | 96861 | 88012 | 96011 | 84858 | 84477 | 85318 | 83716 | 75803 | 78974 | 72454 | 72097 | 70709 | 82025 | 77551 | 95686 | 93487 | 90939 | 80807 | 73216 | 67201 | 69010 | 73524 | 66885 | 70485 | 70091 | 69349 | 63946 | 73089 | 71437 | 67370 | 76592 | 71759 | 73051 | 78628 | 71412 | 72784 | 104176 | 673011 | 2166619 | 3274099 | 3312951 | 3104103 | 2388724 | 248887 | 79421 | 72534 | 77879 | 77375 | 80768 | 79277 | 73133 | 73527 | 73246 | 70029 | 65823 | 71522 | 67230 | 62852 | 60803 | 62691 | 63039 | 60030 | 57410 | 56441 | 57458 | 77384 | 115356 | 114596 | 117358 | 107887 | 101376 | 109380 | 125270 | 140511 | 150084 | 160160 | 177213 | 179106 | 199610 | 230437 | 224168 | 209304
Strip 4 | Control | Control | Control | note | Test | Test | Test | note | T/C | X-pos | Y-pos | 15 | 15.202 | 15.404 | 15.606 | 15.808 | 16.01 | 16.212 | 16.414 | 16.616 | 16.818 | 17.02 | 17.222 | 17.424 | 17.626 | 17.828 | 18.03 | 18.232 | 18.434 | 18.636 | 18.838 | 19.04 | 19.242 | 19.444 | 19.646 | 19.848 | 20.051 | 20.253 | 20.455 | 20.657 | 20.859 | 21.061 | 21.263 | 21.465 | 21.667 | 21.869 | 22.071 | 22.273 | 22.475 | 22.677 | 22.879 | 23.081 | 23.283 | 23.485 | 23.687 | 23.889 | 24.091 | 24.293 | 24.495 | 24.697 | 24.899 | 25.101 | 25.303 | 25.505 | 25.707 | 25.909 | 26.111 | 26.313 | 26.515 | 26.717 | 26.919 | 27.121 | 27.323 | 27.525 | 27.727 | 27.929 | 28.131 | 28.333 | 28.535 | 28.737 | 28.939 | 29.141 | 29.343 | 29.545 | 29.747 | 29.949 | 30.152 | 30.354 | 30.556 | 30.758 | 30.96 | 31.162 | 31.364 | 31.566 | 31.768 | 31.97 | 32.172 | 32.374 | 32.576 | 32.778 | 32.98 | 33.182 | 33.384 | 33.586 | 33.788 | 33.99 | 34.192 | 34.394 | 34.596 | 34.798 | 35
| start | end | area |  | start | end | area |  | -ratio
line1 | 27.323 | 25.707 | 14474907 |  | 21.667 | 20.051 | 868233 |  | 0.06 | 28 |  | 120099 | 114272 | 119506 | 113946 | 114314 | 118178 | 118399 | 110802 | 104447 | 108321 | 96221 | 102008 | 94786 | 93583 | 96134 | 89997 | 90542 | 102097 | 97413 | 86273 | 98379 | 103502 | 98994 | 97734 | 90489 | 92734 | 85469 | 83143 | 107225 | 98729 | 98436 | 101711 | 99218 | 101568 | 103818 | 76386 | 81413 | 77838 | 72113 | 73764 | 76003 | 73656 | 75566 | 69214 | 72446 | 73499 | 87521 | 94038 | 85015 | 77872 | 90429 | 174847 | 157524 | 290037 | 594874 | 2713467 | 3341170 | 3282244 | 2861285 | 1064609 | 190397 | 136824 | 118848 | 113812 | 110068 | 109676 | 106437 | 112680 | 117300 | 113061 | 109076 | 117601 | 117409 | 121034 | 115037 | 117189 | 115186 | 106315 | 97200 | 101721 | 102018 | 108772 | 106845 | 90760 | 88488 | 73541 | 83343 | 148387 | 201195 | 207709 | 225896 | 254023 | 259073 | 272376 | 275185 | 279740 | 305658 | 299370 | 254851 | 239047
Strip 5 | Control | Control | Control | note | Test | Test | Test | note | T/C | X-pos | Y-pos | 15 | 15.202 | 15.404 | 15.606 | 15.808 | 16.01 | 16.212 | 16.414 | 16.616 | 16.818 | 17.02 | 17.222 | 17.424 | 17.626 | 17.828 | 18.03 | 18.232 | 18.434 | 18.636 | 18.838 | 19.04 | 19.242 | 19.444 | 19.646 | 19.848 | 20.051 | 20.253 | 20.455 | 20.657 | 20.859 | 21.061 | 21.263 | 21.465 | 21.667 | 21.869 | 22.071 | 22.273 | 22.475 | 22.677 | 22.879 | 23.081 | 23.283 | 23.485 | 23.687 | 23.889 | 24.091 | 24.293 | 24.495 | 24.697 | 24.899 | 25.101 | 25.303 | 25.505 | 25.707 | 25.909 | 26.111 | 26.313 | 26.515 | 26.717 | 26.919 | 27.121 | 27.323 | 27.525 | 27.727 | 27.929 | 28.131 | 28.333 | 28.535 | 28.737 | 28.939 | 29.141 | 29.343 | 29.545 | 29.747 | 29.949 | 30.152 | 30.354 | 30.556 | 30.758 | 30.96 | 31.162 | 31.364 | 31.566 | 31.768 | 31.97 | 32.172 | 32.374 | 32.576 | 32.778 | 32.98 | 33.182 | 33.384 | 33.586 | 33.788 | 33.99 | 34.192 | 34.394 | 34.596 | 34.798 | 35
| start | end | area |  | start | end | area |  | -ratio
line1 | 27.121 | 25.505 | 13935651 |  | 21.869 | 20.253 | 894201 |  | 0.06 | 33.5 |  | 108552 | 113377 | 99626 | 102145 | 92227 | 114020 | 109944 | 96176 | 100253 | 105085 | 101257 | 97704 | 99942 | 119584 | 113273 | 104211 | 105320 | 94499 | 98478 | 103872 | 100799 | 97635 | 108331 | 94279 | 98211 | 95481 | 93664 | 93515 | 97154 | 104540 | 113410 | 106506 | 106398 | 97998 | 81016 | 91124 | 89129 | 85723 | 83679 | 88417 | 92841 | 81963 | 78797 | 86883 | 89362 | 90824 | 91616 | 81829 | 89677 | 92948 | 89781 | 84971 | 130606 | 451408 | 1439793 | 3294013 | 3303564 | 3043460 | 1936494 | 239711 | 96602 | 87934 | 80288 | 81463 | 87763 | 82265 | 84618 | 77052 | 78774 | 67880 | 69062 | 75277 | 73077 | 61935 | 68226 | 63749 | 74481 | 63955 | 54418 | 57381 | 57509 | 49820 | 53932 | 50221 | 51956 | 79402 | 146929 | 162206 | 177784 | 193236 | 185874 | 192647 | 186387 | 181949 | 196441 | 185252 | 208919 | 203363 | 206656 | 219050
Strip 6 | Control | Control | Control | note | Test | Test | Test | note | T/C | X-pos | Y-pos | 15 | 15.202 | 15.404 | 15.606 | 15.808 | 16.01 | 16.212 | 16.414 | 16.616 | 16.818 | 17.02 | 17.222 | 17.424 | 17.626 | 17.828 | 18.03 | 18.232 | 18.434 | 18.636 | 18.838 | 19.04 | 19.242 | 19.444 | 19.646 | 19.848 | 20.051 | 20.253 | 20.455 | 20.657 | 20.859 | 21.061 | 21.263 | 21.465 | 21.667 | 21.869 | 22.071 | 22.273 | 22.475 | 22.677 | 22.879 | 23.081 | 23.283 | 23.485 | 23.687 | 23.889 | 24.091 | 24.293 | 24.495 | 24.697 | 24.899 | 25.101 | 25.303 | 25.505 | 25.707 | 25.909 | 26.111 | 26.313 | 26.515 | 26.717 | 26.919 | 27.121 | 27.323 | 27.525 | 27.727 | 27.929 | 28.131 | 28.333 | 28.535 | 28.737 | 28.939 | 29.141 | 29.343 | 29.545 | 29.747 | 29.949 | 30.152 | 30.354 | 30.556 | 30.758 | 30.96 | 31.162 | 31.364 | 31.566 | 31.768 | 31.97 | 32.172 | 32.374 | 32.576 | 32.778 | 32.98 | 33.182 | 33.384 | 33.586 | 33.788 | 33.99 | 34.192 | 34.394 | 34.596 | 34.798 | 35
| start | end | area |  | start | end | area |  | -ratio
line1 | 27.525 | 25.909 | 13893023 |  | 22.475 | 20.859 | 857913 |  | 0.06 | 39 |  | 92933 | 99795 | 92632 | 88882 | 89803 | 84403 | 87293 | 88883 | 91900 | 91212 | 82975 | 91987 | 94173 | 89105 | 87525 | 95007 | 90867 | 87964 | 95422 | 90731 | 92048 | 100366 | 91095 | 88608 | 88253 | 86295 | 85433 | 93251 | 90642 | 91515 | 91368 | 103261 | 104216 | 99091 | 99775 | 93683 | 89678 | 85326 | 85695 | 77758 | 84214 | 87077 | 87818 | 87180 | 93217 | 89897 | 84635 | 92944 | 85673 | 92880 | 91898 | 115567 | 134666 | 99176 | 164835 | 1108592 | 2743419 | 3224992 | 3173332 | 2600293 | 671028 | 114524 | 92008 | 86388 | 77972 | 85713 | 86715 | 85079 | 77765 | 79034 | 75446 | 74090 | 67657 | 73483 | 68837 | 65994 | 71530 | 61670 | 63574 | 63719 | 63914 | 61524 | 54324 | 50211 | 47267 | 50446 | 56250 | 111240 | 133420 | 143731 | 155133 | 164215 | 182944 | 193681 | 209390 | 211463 | 208094 | 185731 | 171341 | 173638
Strip 7 | Control | Control | Control | note | Test | Test | Test | note | T/C | X-pos | Y-pos | 15 | 15.202 | 15.404 | 15.606 | 15.808 | 16.01 | 16.212 | 16.414 | 16.616 | 16.818 | 17.02 | 17.222 | 17.424 | 17.626 | 17.828 | 18.03 | 18.232 | 18.434 | 18.636 | 18.838 | 19.04 | 19.242 | 19.444 | 19.646 | 19.848 | 20.051 | 20.253 | 20.455 | 20.657 | 20.859 | 21.061 | 21.263 | 21.465 | 21.667 | 21.869 | 22.071 | 22.273 | 22.475 | 22.677 | 22.879 | 23.081 | 23.283 | 23.485 | 23.687 | 23.889 | 24.091 | 24.293 | 24.495 | 24.697 | 24.899 | 25.101 | 25.303 | 25.505 | 25.707 | 25.909 | 26.111 | 26.313 | 26.515 | 26.717 | 26.919 | 27.121 | 27.323 | 27.525 | 27.727 | 27.929 | 28.131 | 28.333 | 28.535 | 28.737 | 28.939 | 29.141 | 29.343 | 29.545 | 29.747 | 29.949 | 30.152 | 30.354 | 30.556 | 30.758 | 30.96 | 31.162 | 31.364 | 31.566 | 31.768 | 31.97 | 32.172 | 32.374 | 32.576 | 32.778 | 32.98 | 33.182 | 33.384 | 33.586 | 33.788 | 33.99 | 34.192 | 34.394 | 34.596 | 34.798 | 35
| start | end | area |  | start | end | area |  | -ratio
line1 | 27.525 | 25.909 | 14356899 |  | 22.677 | 21.061 | 909862 |  | 0.06 | 44.5 |  | 110132 | 106459 | 93602 | 92343 | 103423 | 121954 | 99596 | 87921 | 96881 | 97351 | 100535 | 109023 | 109884 | 97352 | 100802 | 105568 | 91123 | 88898 | 96168 | 85087 | 88109 | 87163 | 99483 | 94945 | 87109 | 86907 | 88085 | 84447 | 97854 | 94559 | 96147 | 93297 | 119370 | 121297 | 129759 | 93209 | 85990 | 87365 | 83428 | 86744 | 87474 | 92543 | 89363 | 76736 | 74368 | 86156 | 88546 | 97583 | 87186 | 80003 | 90187 | 90743 | 101055 | 102870 | 113936 | 341924 | 1478772 | 3021232 | 3246986 | 3172527 | 2588638 | 291691 | 101193 | 87148 | 95179 | 99820 | 86011 | 86448 | 82264 | 85259 | 85833 | 80832 | 75121 | 78464 | 79825 | 70612 | 74220 | 71025 | 77406 | 71075 | 74072 | 67554 | 65449 | 62370 | 60119 | 54573 | 56701 | 64498 | 101714 | 133634 | 160752 | 165539 | 179800 | 203512 | 220185 | 221754 | 219151 | 220571 | 222313 | 200014
Strip 8 | Control | Control | Control | note | Test | Test | Test | note | T/C | X-pos | Y-pos | 15 | 15.202 | 15.404 | 15.606 | 15.808 | 16.01 | 16.212 | 16.414 | 16.616 | 16.818 | 17.02 | 17.222 | 17.424 | 17.626 | 17.828 | 18.03 | 18.232 | 18.434 | 18.636 | 18.838 | 19.04 | 19.242 | 19.444 | 19.646 | 19.848 | 20.051 | 20.253 | 20.455 | 20.657 | 20.859 | 21.061 | 21.263 | 21.465 | 21.667 | 21.869 | 22.071 | 22.273 | 22.475 | 22.677 | 22.879 | 23.081 | 23.283 | 23.485 | 23.687 | 23.889 | 24.091 | 24.293 | 24.495 | 24.697 | 24.899 | 25.101 | 25.303 | 25.505 | 25.707 | 25.909 | 26.111 | 26.313 | 26.515 | 26.717 | 26.919 | 27.121 | 27.323 | 27.525 | 27.727 | 27.929 | 28.131 | 28.333 | 28.535 | 28.737 | 28.939 | 29.141 | 29.343 | 29.545 | 29.747 | 29.949 | 30.152 | 30.354 | 30.556 | 30.758 | 30.96 | 31.162 | 31.364 | 31.566 | 31.768 | 31.97 | 32.172 | 32.374 | 32.576 | 32.778 | 32.98 | 33.182 | 33.384 | 33.586 | 33.788 | 33.99 | 34.192 | 34.394 | 34.596 | 34.798 | 35
| start | end | area |  | start | end | area |  | -ratio
line1 | 27.323 | 25.505 | 13623616 |  | 22.475 | 20.657 | 843094 |  | 0.06 | 50 |  | 96886 | 99246 | 90526 | 95622 | 97929 | 96986 | 100934 | 102570 | 93840 | 101338 | 94707 | 89559 | 79170 | 79015 | 84602 | 82041 | 89347 | 86508 | 76775 | 79816 | 76164 | 76645 | 85273 | 80824 | 85046 | 78354 | 84805 | 83886 | 72889 | 74921 | 97443 | 101713 | 93735 | 94866 | 83342 | 74324 | 73118 | 76743 | 78695 | 79926 | 78577 | 73262 | 71689 | 71003 | 70519 | 74614 | 79246 | 79592 | 81165 | 85361 | 79688 | 84508 | 105433 | 331179 | 1204690 | 3036865 | 3005780 | 2850253 | 2252922 | 591194 | 170352 | 74948 | 77894 | 90363 | 83497 | 69039 | 74551 | 80457 | 78700 | 79146 | 68057 | 74860 | 74081 | 77687 | 72686 | 70959 | 75908 | 67577 | 69559 | 64344 | 66207 | 67834 | 70576 | 79360 | 80385 | 100832 | 140105 | 150454 | 153601 | 173782 | 185933 | 196509 | 203403 | 219640 | 264413 | 280526 | 268741 | 268065 | 252835 | 216060
Strip 9 | Control | Control | Control | note | Test | Test | Test | note | T/C | X-pos | Y-pos | 15 | 15.202 | 15.404 | 15.606 | 15.808 | 16.01 | 16.212 | 16.414 | 16.616 | 16.818 | 17.02 | 17.222 | 17.424 | 17.626 | 17.828 | 18.03 | 18.232 | 18.434 | 18.636 | 18.838 | 19.04 | 19.242 | 19.444 | 19.646 | 19.848 | 20.051 | 20.253 | 20.455 | 20.657 | 20.859 | 21.061 | 21.263 | 21.465 | 21.667 | 21.869 | 22.071 | 22.273 | 22.475 | 22.677 | 22.879 | 23.081 | 23.283 | 23.485 | 23.687 | 23.889 | 24.091 | 24.293 | 24.495 | 24.697 | 24.899 | 25.101 | 25.303 | 25.505 | 25.707 | 25.909 | 26.111 | 26.313 | 26.515 | 26.717 | 26.919 | 27.121 | 27.323 | 27.525 | 27.727 | 27.929 | 28.131 | 28.333 | 28.535 | 28.737 | 28.939 | 29.141 | 29.343 | 29.545 | 29.747 | 29.949 | 30.152 | 30.354 | 30.556 | 30.758 | 30.96 | 31.162 | 31.364 | 31.566 | 31.768 | 31.97 | 32.172 | 32.374 | 32.576 | 32.778 | 32.98 | 33.182 | 33.384 | 33.586 | 33.788 | 33.99 | 34.192 | 34.394 | 34.596 | 34.798 | 35
| start | end | area |  | start | end | area |  | -ratio
line1 | 27.323 | 25.505 | 15306022 |  | 22.475 | 20.657 | 868609 |  | 0.06 | 55.5 |  | 74010 | 74590 | 71894 | 75604 | 73366 | 80047 | 73285 | 77878 | 80205 | 85799 | 85789 | 76581 | 77991 | 75508 | 75627 | 84373 | 81488 | 83997 | 90071 | 84542 | 78102 | 82633 | 92110 | 80691 | 79710 | 80518 | 85769 | 90389 | 85334 | 92630 | 97752 | 105076 | 98703 | 81186 | 79129 | 83315 | 71716 | 73768 | 77358 | 77082 | 84246 | 77463 | 77040 | 78835 | 75365 | 79438 | 76965 | 73101 | 84394 | 85927 | 88875 | 88314 | 123522 | 334011 | 1973191 | 3313449 | 3277518 | 2983674 | 2364018 | 729375 | 134212 | 73052 | 78212 | 77123 | 66338 | 65732 | 81709 | 77989 | 82754 | 76793 | 71156 | 80317 | 74600 | 72465 | 65380 | 67714 | 66645 | 72459 | 64356 | 74892 | 67648 | 76368 | 71195 | 112656 | 184922 | 200251 | 205665 | 218551 | 231608 | 237801 | 269834 | 311003 | 336045 | 336805 | 342807 | 315529 | 298870 | 306310 | 284644 | 241778

## Parameters
PARAMETERS
MEASUREMENT START DATE Wed Jul 26 2023 10:12:49 GMT+0200 (Central European Summer Time)
MEASUREMENT COMMENT
User interface program version: | 13.1.2
Instrument serial number: | 2180028
PROTOCOL NAME | 20 strips plate
PROTOCOL CREATION DATE 7/26/2023, 10:00:49 AM
PLATE
SCAN DIRECTION | Y-dir
CONTROL POSITION | Below
TEST DISTANCE (mm) | 5
1 OPERATION | UPCON-Scan
MEASUREMENT UNIT | COUNTS
MEASUREMENT TYPE | Single label
EXCITATION FILTER | UPCON Exc (976)
EMISSION FILTER | UPCON (540) Em
DICHROIC MIRROR | UPCON
SCAN POINTS | 100
RANGE (mm) | 20.000
Z-FOCUS (mm) | 12.2
EMISSION SPOT SIZE (mm) | 4.0
MEASUREMENT TIME (ms) | 100
RELATIVE LASER POWER (%) | 1
MEASUREMENT ORDER | Bi-directional by rows